## Sheet1
ScheduleId | Group | ScheduleName | IsEnabled | Description
16 | PHX02 | PHX02 DG maintenance | 1 | DG MAINTENANCE : Level 2 oil change
20 | PHX02 | PHX02 MDC 500 | 0 | HP 500 Container - Maintenance ALL Alarms
26 | PHX02 | PHX02 MDC 700 | 0 | HP CONTAINER MAITENANCE
27 | PHX02 | PHX02 Pull The Plug Test | 0 | SSA-BP will be going to Generators as trusted source.
31 | PHX02 | PHX02 BSS 3 AND 4 | 0
32 | PHX02 | PHX02 SES | 0
33 | PHX02 | PHX02 MCP Loss of Power | 0
35 | PHX02 | PHX02 BSS 3 Maintenance | 0 | Work BSS-3 Opening breakers
36 | PHX02 | BSS-4 Down Power | 0
38 | PHX02 | PHX 02 Row 8 | 0 | Breakers BSS-3 BKR-4 (Row 8 A Side Buss) and BSS-4 BKR-4 (Row 8 B Side Buss) will be manipulated for commissioning.
40 | PHX01 | PHX01 Generator Service | 1
42 | PHX01 | CWS Tank Isolation | 1
43 | DEN01 | DEN01 Gen monthly | 1 | Monthly generator Maintennace task alarming bypass.
44 | PHX02 | PH02 L1B Down Power | 0
48 | DEN01 | DEN01 - RAVICA | 0 | MAINTENANCE IMPACTING T/H RAVICAS IN LOCATIONS EC01.02 AND B04.07.
52 | PHX01 | Gen 3A | 0 | Gen 3B out of service for maintenance
53 | DEN01 | Den01 ats on gen | 0 | Used when transfering to generator power.
54 | PHX02 | PHX02 MDC 600 | 0
56 | SLC01 | SLC01 MPS MAINT (2) | 0 | maintenance for containers
57 | PHX01 | PHX01 Chiller Maint | 1 | Work in progress
58 | PHX02 | PHX 02 Maintenance Mode | 1 | To be used to place PHX 02 into maintenance mode.
60 | PHX02 | PHX02 MDC 150 | 1 | Patch panel move.
61 | PHX01 | PHX 01 Maintenance Mode | 0 | Building 1 in maintenance for five year switchgear maintenance.
62 | DEN01 | DEN01 PDU MAINT | 0
63 | PHX02 | PHX02 MDC100 | 1 | Patch panel move.
64 | PHX02 | PHX02 MDC 250 | 0
65 | SLC01 | SLC01 MVA main | 0 | QS tie in to LS gear
66 | SLC01 | SLC01- Beehive Maintenance | 1
67 | SLC01 | SLC01 acu pm | 1 | acu pm
69 | SLC01 | SLC01 FCU commissioing | 0 | commissioning
70 | PHX01 | PHX01 UPS 1A | 1 | for work on UPS 1A that operates breakers/UPMS that could casue alarms during maintenance
71 | PHX01 | PHX01 UPS 1B | 1 | For work on UPS 1B
72 | PHX01 | PHX01 UPS 2A | 0 | For work on UPS 2A
73 | PHX01 | PHX01 UPS 3A | 0 | For work that impacts ups 3A
74 | PHX01 | PHX01 UPS 3B | 0 | For work on UPS 3B
75 | PHX01 | PHX01 UPS 2B | 0 | for work on u2b LIS
76 | PHX01 | PHX01 Chiller 1/ Cooling Tower 1 Maintenance | 0 | leak repair
77 | PHX01 | PHX01 Chiller 2/ Cooling Tower 2 Maintenance | 0 | leak repair
78 | PHX01 | PHX01 Chiller 3/ Cooling Tower 3 Maintenance | 0
79 | PHX01 | PHX01 Chiller 4/ Cooling Tower 4 Maintenance | 0
80 | PHX01 | PHX01 Chiller 5/ Cooling Tower 5 Maintenance | 0
81 | PHX01 | PHX01 Chiller 6/ Cooling Tower 6 Maintenance | 0 | Condenser pump repair
83 | CHD02 | CHD02 LGR MAINT. | 0 | LGR MAINTENANCE
84 | SLC01 | BWP 2A-6 isolation | 0
85 | SLC01 | SLC UDS FCU Maintenance | 1
86 | PHX01 | PHX01 CRAC | 0
88 | SLC01 | SLC01 UPS PM | 0
89 | SLC01 | SLC01 Room A | 0
90 | SLC01 | SLC01 - Substation switching | 1 | SEL work is happening in the substation today which could cause a loss of comm and send alarms.
92 | SLC02 | QS utility | 0
93 | SLC02 | SLC02 MM | 0 | GENERAL MM FOLDER FOR BUILD OUT
94 | SLC01 | SLC01 - room3 temp | 1
95 | SLC01 | SLC 01 Facility on single utility | 1
96 | SLC01 | SLC-01 UMDP 3A/3B ISOLATION | 0
97 | SLC01 | slc01 - rolling plants | 0
98 | LVS01 | LVS RERACK MM | 0 | MM FOR ROOM 410 WHILE WE ARE CONDUCTING THE TERADATA RERACK EXERCISE.
99 | SLC01 | SLC01 Beehive UPS Tie in | 0 | A source feeder breakers on MDC 100A and 150A will be disabled for 3 to 4 weeks.
101 | CHD02 | CHD02-200 UPS | 0
102 | SLC01 | SLC01 Room 01 B | 0
103 | DEN01 | DEN01-UPS Battery maintenance | 1 | Battery Preventative maintence underway.
104 | SLC01 | SLC01-UPS CRACS | 0 | UPS CRACS L4 TESTING
105 | SLC01 | SCL01 room 3 A isolation | 0
107 | SLC01 | SLC01 Room 3B Isolation | 0
108 | SLC01 | SLC01 MDC 100 | 0
109 | SLC01 | SLC01 MDC 150 | 1
110 | CHD02 | CHD02 PLC Work | 1
111 | SLC01 | SLC01 Room 2A isolation | 0 | UDS repair
113 | SLC01 | SLC01 - Room 2B ISO | 0
118 | CHD02 | CHD02 UPS H202 | 1
119 | SLC01 | SLC01 UPS 2B3 ISOLATION | 1
120 | CHD02 | CHD02 Gen Maintenance | 1
121 | SLC01 | SLC01 - B Side Isolation of Beehive | 1
123 | SLC02 | Cx of MDC 184 | 1
124 | SLC02 | SLC02 Gererator CX | 1 | Running a generator no load test.
125 | SLC02 | SlC 02 Mech UPS Maintenance mode | 1
126 | CHD02 | CHD02-02-300 BMS | 1
127 | SLC02 | SLC 02 MDC 175 single source utility | 0
128 | SLC02 | SLC-02 stamp 8 swing gen tie in | 1
129 | SLC02 | CX Of MDC 184 - DCM-SLC02 MECH-UPS ALARM | 1 | Extended the maintenance schedule time for alarm -- DCM-SLC02 MECH-UPS SWGR MAIN FEEDER BREAKER IS OPEN AND MAINTENACE BREAKER IS CLOSED. UPS SYSTEM IN MAINT. BYPASS -- while researching device mapping issues
130 | SLC02 | SLC02 BLOW down testing | 0
131 | SLC02 | SLC02 BLOOM 13 | 1 | BLOOM MAINTENANCE SCHEDULE FROM STAMP 13 COMMS ISSUES
132 | SLC02 | SLC02 Bloom Stamp 13 J1 cable replacment | 0
133 | SLC02 | SLC02 Spine | 1
134 | SLC02 | SLC02 Stamp 8 testing | 1 | This project is an attempt to minimize voltage spikes that Bloom encounters a utility outage.
135 | SLC02 | SLC02 stamp 13 CUI trouble shooting | 1 | Attempt to identify RCA for re-occuring alarms.
136 | SLC02 | SLC02 stamp 10 | 1
137 | SLC02 | SLC02 QS B isolation | 1
138 | LVS01 | LVS01 RARITAN MAINTENANCE | 1 | OSI TESTING
139 | SLC02 | SLC02 QSB isolation | 1
140 | SLC02 | SLC02 ALC reboot | 1
141 | LVS01 | LVS01 OSI TESTING | 1 | TESTING T/H SENSORS FOR OSI SPIN UP
142 | SLC02 | SLC02 Cooling towers | 1
143 | CHD02 | CHD02-02-300 UPS | 1
144 | SLC02 | slc02 Stamp 6 restart | 1
145 | SLC02 | slc02 stamp 11 reset | 1
146 | SLC02 | SLC02 CRAC UNITS | 1 | Updating firmware on CRAC gateways.
147 | SLC01 | Room 1 and 2 failed sensor | 1 | this is for replacing 2 bad sensors
148 | SLC02 | SLC02 MDC 179 START UP | 1 | BWP breakers will be opened and closed as needed to support MDC 179 startup.
149 | SLC02 | SLC02 MDC 184 MAINTENANCE | 1 | MDC 184 MAINTENANCE
150 | SLC02 | MDC 175 ATS BYPASS | 1
151 | SLC02 | SLC 02 Generator tie in of A1/B1 | 1
152 | SLC02 | MDC 184 All Alarms | 1
153 | SLC02 | SLC02 Stamp 13 Firmware Upgrade | 1